NanoDrive Wrapper Documentation

Index / Quick Reference

Handle Management

init_handle () -> int

init_handle_or_get_existing () -> int

grab_handle (device_id) -> int

grab_handle_or_get_existing (device_id) -> int

grab_all_handles () -> int

get_all_handles (size : int) -> int, ints list

number_of_current_handles () -> int

get_handle_by_serial (serial_num : int) -> int

release_handle (handle : int)

release_all_handles ()

Standard Device Movement

single_read_n (axis : int, handle : int) -> double

single_write_n (position : double, axis : int, handle : int)

monitor_n (position : double, axis : int, handle : int) -> double

single_read_z (handle : int) -> double

single_write_z (position : double, handle : int)

monitor_z (position : double, handle : int) -> double

Waveform Acquisition

read_waveform_n (axis : int,

datapoints : int,

milliseconds : double,

handle : int) -> (doubles list)

setup_read_waveform_n (axis : int, datapoints : int, milliseconds : double, handle : int)

trigger_read_waveform_n (axis : int, datapoints : int, handle : int) -> doubles list

load_waveform_n (axis : int,

datapoints : int,

milliseconds : double,

waveform :doubles list,

handle : int)

setup_load_waveform_n (axis : int,

datapoints : int,

milliseconds :double,

waveform : doubles list,

handle : int)

trigger_load_waveform_n (axis : int, handle : int)

trigger_waveform_acquisition (axis : int, datapoints : int, handle : int) -> doubles list

Multi Axis Waveform Acquisition

wfma_setup (   	wf_dac_x : doubles list,

wf_dac_y : doubles list,

wf_dac_z : doubles list,

data_points_per_axis : int,

milliseconds : double,

iterations : int,

handle : int)

wfma_trigger_and_read (handle : int) -> doubles list, doubles list, doubles list

wfma_trigger (handle : int)

wfma_read (handle : int) -> doubles list, doubles list, doubles list

wfma_stop (handle : int)

ISS Option

pixel_clock (handle : int)

line_clock (handle : int)

frame_clock (handle : int)

aux_clock (handle : int)

iss_set_clock (clock : int, mode : int, handle : int)

iss_reset_defaults (handle : int)

iss_bind_clock_to_axis (clock : int, mode : int, axis : int, handle : int)

iss_configure_polarity (clock : int, mode : int, handle : int)

Cfocus

c_focus_set_focus_mode (focus_mode_on :bool, handle : int)

c_focus_step (relative_position_change : double, handle : int)

c_focus_get_focus_mode (handle : int) -> int

Encoder

read_encoder_z (handle : int) -> double

reset_encoder_z (handle : int)

Tip Tilt Z

theta_x (milliradians : double, handle : int) -> double

theta_y (milliradians : double, handle : int) -> double

move_z_center (position : double, handle : int) -> double

level_z (position : double, handle : int)

tip_tilt_height (handle : int) -> double

tip_tilt_width (handle : int) -> double

min_max_theta_x (handle : int) -> double, double

Tip Tilt Z (cont.)

min_max_theta_y (handle : int) -> double, double

get_tip_tilt_theta_x (handle : int) -> double

get_tip_tilt_theta_y (handle : int) -> double

get_tip_tilt_center (handle : int) -> double

current_min_max_theta_x (handle : int) -> double, double

current_min_max_theta_y (handle : int) -> double, double

current_min_max_center (handle : int) -> double, double

Sequences

sequence_load (axis : int, sequence : doubles list, seq_size : int, handle : int)

sequence_clear (handle : int)

sequence_start (handle : int)

sequence_stop (handle : int)

sequence_get_max (handle : int) -> int

Clock Functionality

change_clock (milliseconds : double, clock : int, handle : int)

get_clock_frequency (handle : int) -> double, double

Device Information

device_attached (milliseconds : double, handle : int) -> bool

get_calibration (axis : int, handle : int) -> double

get_firmware_version (handle : int) -> int, int

print_device_info (handle : int)

get_serial_number (handle : int) -> int

Device Information (cont.)

dll_version () -> int, int

correct_driver_version () -> bool

get_commanded_position (handle : int) -> double, double, double